# Switching to Document Camera while on Zoom

The Campus has standardized on two HuddleCam versions; Ultra 8 and Duo

Ultra 8							Duo

- Turn on Document Camera

- Press Video Selection

  - Ultra 8: Switch from HDMI to USB using the touch screen

  - Duo: Switch from HDMI to USB using the video selector button - toggles between HDMI and USB

- In Zoom Video Settings, Select HoverCam Ultra8 or Duo

- After your session, please switch the video selection back to HDMI and shut off the document camera.

# Using the Software Application and Screen Share

- Turn the document camera on first

- Open Document Camera Software

or

- Open Share Screen on Zoom and Select appropriate Monitor to Share

## HoverCam Duo Controls:

Rotate Image

Zoom Controls

Auto - Focus

HDMI / USB Video Selector

Blue Light indicates camera is powered on